Report of RFTech presentation during

Mixdes conference

(June 26-27, Wroclaw, Poland)

Title of presentation:

ATCA Carrier Board with Dedicated IPMI Controller

Presenter:

Piotr Perek (student)

Department of Microelectronics and Computer Science

Technical University of Lodz

Lodz, Poland

Piotr Perek presented a new solution of Intelligent Platform Management Controller for ATCA Carrier Board for prototype of LLRF control system of XFEL accelerator. In accordance with ATCA specification each ATCA Board must be equipped with IPMC what gives the possibility of its management and control. Presented solution of IPMC is based on Renesas microcontroller dedicated for management in telecommunication systems such as ATCA or MicroTCA. In comparison with previously used IPMCs presented solution ensures more stable communication over IPMBs and also more reliable and faster operation.

Abstract: The Advanced Telecommunications Computing Architecture (ATCA) specification allows to meet the newest trends in high speed communication technologies. Furthermore, it provides manageability, availability and exceptional reliability at 99.999% level. Therefore, this architecture is perfect to use in control systems of complex projects like the Free-Electron Laser in Hamburg (FLASH) or the X-ray Free Electron Laser (X-FEL) that work with high-frequency signal processing, use high-speed communication protocols such as PCIe, Gigabit Ethernet or RocketIO and require continuous stable operation. Modular construction allows for flexible system configuration. What is worth emphasizing, in contrast to previous solutions like, VME (Versa Module Eurocard), it is possible to change the system configuration without the need for power shutdown. Hot-plug functionality is delivered by Intelligent Platform Management Interface (IPMI) system. For this reason, all ATCA units, which can be replaced in the field should have Intelligent Platform Management Controller (IPMC) that provides IPMI functionality.

The paper presents the newest solution of IPMC for Carrier Board for LLRF control system of XFEL accelerator. A microcontroller dedicated for IPMI management in ATCA systems fulfills the role of IPMC in this module.

Index Term: Intelligent Platform Management Interface, Advanced Telecommunications Computing Architecture, Carrier Board, X-ray Free Electron Laser, IPMC

Remarks: During the conference the author expanded one’s knowledge on the subject of xTCA systems and also operation principles of LLRF control system. Furthermore he familiarized oneself with the newest trends in the field of embedded systems and computation techniques.

We acknowledge funding from the European Commission under the FP7 Research Infrastructures project EuCARD, grant agreement no. 227579.